## ENERGY MANAGEMENT
Accommodation Profile |  | 1. Guesthouse / Pension – only accommodation, no gastronomy | 2. Hotel / Pension – only continental breakfast, reception, basic services | 3. Self-catering accommodation, small accommodation | 4. Hotel with restaurant – full gastronomy | 5. Hotel with wellness / pool / conferences – vysoká spotřeba |  | A. Central Europe | B. North Europe | C. South Evropa
Period | Occupancy rate during the year (%) | Number of operating days | Number of rooms | Floor area including facilities (m²) | Room night |  | entered by user | calculated by program | recurring values |  | Pozn. vhodné i pro plánování změn, např. 2024 - už nezměním, provedla jsem nějaké změny v roce 2025 a další investice, mám naplánované pro rok 2026 - mohu vložit odhad nebo změnit např. obsazenost pokojů/počet pokojů atd.
x (eg. 2024) | 75 | 365 | 45 | 4320 | 12318.75
x+1 (eg. 2025) | 75 | 365 | 45 | 4320 | 12318.75
x+2 (eg. 2026) | 75 | 365 | 45 | 4320 | 12318.75
ENERGY & CONSUMPTION DATA (with auto-calculated)
Indicator | Indicator description | Data source | Unit | Normalized value for period x | Normalized value for period (x+1) | Normalized value for period (x+2) | Conversion of kWh to GJ for period x | Conversion of kWh to GJ for period (x+1) | Conversion of kWh to GJ for period (x+2) | Normalization Unit | Normalized value for period x | Normalized value for period (x+1) | Normalized value for period (x+2) | % change between period x and (x+1) | Evaluation | Report | % change between period (x+1) a (x+2) | Evaluation | Report
Total energy consumption per year | Total amount of energy consumed by the accommodation facility for the selected period - electricity, gas, heating, etc. | Energy invoices / internal metering systems | kWh | 510000 | 590000 | 490000 | 1836 | 2124 | 1764 | GJ/room night* | 0.14904 | 0.17242 | 0.1432 | 15.6863 | Significant – reflect in reporting | Significant increase – detailed analysis and action plan recommended. | -16.9492 | Significant – reflect in reporting | Great! Significant improvement – include in ESG report and inspire others.
| Total amount of energy consumed by the accommodation facility for the selected period (x) - electricity, gas, heating, etc. | Energy invoices / internal metering systems | kWh | 510000 | 590000 | 490000 | 1836 | 2124 | 1764 | GJ/m2/rok | 0.425 | 0.49167 | 0.40833 | 15.6863 | Significant – reflect in reporting | Significant increase – detailed analysis and action plan recommended. | -16.9492 | Significant – reflect in reporting | Great! Significant improvement – include in ESG report and inspire others.
|  |  |  | Value for the period x | Value for the period (x+1) | Value for the period (x+2) | Comments
% of energy from the grid | Percentage of energy coming from the regular distribution network (e.g. grid electricity). | Supplier contracts / invoices | % | 100 | 100 | 85
% renewable energy | Percentage of energy consumed from renewable sources (e.g. solar, wind, biomass energy). | Supplier certification, own records | % | 0 | 0 | 15
ENERGY & EMISSIONS – EU factors (auto-calculated) |  |  |  | Explanations / Notes
Note: Fill in kWh by energy source below (or link existing cells). CO₂e factors are EU averages; adjust in the Factors table if needed. |  |  |  | Příklad: POUZE pro jeden rok (2024) - plynový kotel + síťová elektřina
Energy source | kWh | EF (kg CO₂e/kWh) | Emissions (t CO₂e) | Explanation
Electricity – grid | 210100 | 0.432 | 90.7632 | Electricity purchased from the national grid (without renewable certificates).
Electricity – renewable (with GOs/RECs) | 0 | 0 | 0 | Electricity supplied with Guarantees of Origin or Renewable Energy Certificates – may be reported as zero-emission (market-based).
Natural gas | 289900 | 0.202 | 58.5598 | Fuel gas used for heating or water heating.
Heating oil | 0 | 0.267 | 0 | Diesel or light fuel oil used in boilers.
LPG | 0 | 0.227 | 0 | Liquefied petroleum gas used for heating or cooking.
Biomass (biogenic) | 10000 | 0.02 | 0.2 | Wood pellets, chips, or similar – only biogenic fraction counted.
District heating | 0 | 0.18 | 0 | Purchased heat from a district system; factor depends on local mix.
Other | 0 | 0.2 | 0 | Any other energy source not listed above.
TOTAL | 510000 |  | 149.523
Shows energy and emission intensity per m² and room-night; helps identify efficiency and carbon footprint trends.
INTENSITIES & KPIs | Auto-calculated value
Floor area (m²) | 4320
Occupied room-nights | 12318.75
|  | Typical value - category | Results | Recommendation |  | Category Value | 1. Guesthouse / Pension – only accommodation, no gastronomy | 2. Hotel / Pension – only continental breakfast, reception, basic services | 3. Self-catering accommodation, small accommodation | 4. Hotel with restaurant – full gastronomy | 5. Hotel with wellness / pool / conferences – vysoká spotřeba
Energy intensity (kWh/m²) | 118.0556 | 50-90 | Slightly above average | Consider small operational energy-saving measures. |  | Energy intensity (kWh/m²) | 50–90 | 80–120 | 90–140 | 150-220 | 220-320+
Energy intensity (kWh/room-night) | 41.4003 | 20-35 | Slightly above average | Optimize heating, lighting, and equipment operation. |  | Energy intensity (kWh/room-night) | 20–35 | 25–40 | 30–45 | 45–75 | 70-110+
Emissions intensity (kg CO₂e/m²) | 34.6118 | ≤ 15 | High emissions | Reduce fossil fuel use and upgrade to low-carbon technologies. |  | Emissions intensity (kg CO₂e/m²) | ≤ 15 | 15-25 | 20–30 | 35-50 | 45-70+
Emissions intensity (kg CO₂e/room-night) | 12.1378 | ≤ 5 | High emissions per room-night | Develop a carbon-reduction plan and improve energy efficiency. |  | Emissions intensity (kg CO₂e/room-night) | ≤ 5 | 6–9 | 6–10 | 2018-10-01 | 15–28+
BENCHMARKS & THRESHOLDS | [9 empty] | K | L (Good_max) | M (Acceptable_max) | N (Upper_ref)
| Year X | Year X+1 | Year X+2 (latest) | Comments | Score for year X | WEIGHT score | WEIGHTS |  | meziroční porovnání | THRESHOLDS
Energy intensity (kWh/m²) | 118.0556 |  |  |  | 81.2963 | 21.062 | A. Energy performance (current) | 0.25 |  | Energy intensity (kWh/m²) | 90 | 120 | 200
Energy intensity (kWh/room-night) | 41.4003 |  |  |  | 87.1994 |  | B. Energy trend YoY | 0 | 0.2 | Energy intensity (kWh/room-night) | 35 | 45 | 60
Emissions intensity (kg CO₂e/m²) | 41.4003 |  |  |  | 53.7595 | 9.2199 | C. Carbon performance (current) | 0.25 |  | Emissions intensity (kg CO₂e/m²) | 15 | 25 | 50
Emissions intensity (kg CO₂e/room-night) | 34.6118 |  |  |  | 20 |  | D. Carbon trend YoY | 0 | 0.15 | Emissions intensity (kg CO₂e/room-night) | 5 | 12 | 20
Renewable electricity share (%) | 0 | 0 | 15 |  | 25 | 3.75 | E. Renewable sourcing | 0.15 |  | Renewables (L=Excellent, M=Good, N=Baseline) | 80 | 60 | 10
52
Silver
How to interpret your results
Rating | Meaning | Typical profile | Recommended next steps
Basic (0–25) | Initial stage. Limited data available, no energy management plan in place. | Company lacks systematic monitoring or targets. | Start by collecting full annual energy data and setting a baseline for electricity and heating consumption.
Bronze (26–50) | Basic energy tracking started. Partial data or first energy-saving actions implemented. | Usually small facilities without a dedicated ESG strategy. | Improve data quality, install smart meters, and define a yearly reduction target.
Silver (51–75) | Active management of energy use and emissions. Some renewable energy or efficient systems introduced. | Typical for mid-size hotels with clear monitoring. | Identify high-consumption areas, upgrade lighting to LED, and explore partial renewable energy sourcing (e.g. green electricity tariff).
Gold (76–90) | Advanced management with defined goals and verified reduction achievements. | Facilities implementing ISO 50001 or corporate sustainability plans. | Set science-based targets, perform energy audits, and optimise heating and cooling systems.
Platinum (91–100) | Exemplary sustainability leadership. | Facilities powered fully by renewables and with continuous improvement verified by third parties. | Maintain certification (ISO 50001/SBTi) and share best practices with industry peers.
Recommended next steps
Generally recommended | Section | Activity / measure | Filling (%) | Note/evidence |  | Score | Evaluation
| Energy audit | Has an energy consumption analysis (audit) been carried out? | 100 | audit carried out this year 1.3. 2025 |  | 100 | Excellent
| LED lighting | Have all the lights been replaced with LEDs? | 50 | Pouze 50% objektu |  | 50 | Sufficient
| Energy-saving appliances | Are appliances with an energy label of A++ or higher used? | 70 |  |  | 70 | Very good
| HVAC systems - maintenance | Is regular maintenance of the air conditioning, heating and ventilation carried out? | 10 |  |  | 10 | Insufficient
| Use of renewable energy sources | Is energy from solar, wind or other renewable sources used? | 30 |  |  | 30 | Weak
| Purchase of green electricity | Does the company have a contract for the supply of electricity from renewable sources? |  |  |  | 0
| Energy insulation of the building | Is the building energy insulated (walls, windows, roof)? |  |  |  | 0
| …own activity… |  |  |  |  | 0
Best practice | Employee Behavior | Do you provide regular training to your staff on energy-efficient behavior? |  |  |  | 0
| Cleaning & Laundry | Do you wash towels on request? E.g. If you wish to change towels, leave them on the floor." " |  |  |  | 0
|  | Do you have a set frequency for changing bed linen? E.g. Guest information: "We change bed linen every 3 days, if you wish otherwise, please contact the reception." |  |  |  | 0
| Lighting | Do you use motion sensors in the hallways and social areas? |  |  |  | 0
|  | Do you use cards as energy activators in the room (lights only when the card is inserted)? |  |  |  | 0
| Heating & Air Conditioning | Do you have a standard heating temperature set with the possibility of individual heating on request? |  |  |  | 0
|  | Is the air conditioning only functional when the windows are closed? |  |  |  | 0
| Guest Behavior | Do you use communication tools to inform and educate guests? E.g. Signs "When leaving, please turn off the lights and the air conditioning." |  |  |  | 0
|  | Do you use communication tools to inform and educate guests? E.g. A small flyer with a QR code that shows a video or short info about the hotel's measures. |  |  |  | 0
| Management & Technology | Do you perform regular, more frequent monitoring of energy consumption (e.g. weekly/monthly)? |  |  |  | 0
|  | Do you record guests' requests for temperature control for use in predictions and trend evaluation? |  |  |  | 0
| …own activity… | …own activity…. |  |  |  | 0
Note on C42: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Pro rok x+1 a X+2 je nutné provést výpočet v tabulce výše - do budoucna možno zdublovat…
Note on G47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Pozor není to součet vážených skóre x ve vzorci normalizováno součtem aktivních vah
Note on C52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Typický profil - je důležitý ve smyslu - jsem-li malé zařízení a nikdy jsem se ESG nevěnoval, pak je v pořádku, že mám Bronze. Ale pokud jsem střední hotel a vyjde mi Bronze, a já bych měl být alespoń silver, pak je to špatně...

## WATER MANAGEMENT
Accommodation Profile |  | 1. Guesthouse / Pension – only accomodation, no gastronomy | 2. Hotel / Pension bez restaurace – continental breakfast, reception, basic services | 3. Self-catering accommodation, serviced apartments | 4. Hotel with restaurant – full gastronomy | 5. Hotel with wellness / pool / conferences – vysoká spotřeba |  | A. Central Europe | B. North Europe | C. South Evropa
Period | Occupancy rate during the year (%) | Number of operating days | Number of rooms | Floor area including facilities (m²) | Room night |  | entered by user | calculated by program | recurring values
x (eg. 2024) | 75 | 365 | 45 | 4320 | 12318.75
x+1 (eg. 2025) | 75 | 365 | 45 | 4320 | 12318.75
x+2 (eg. 2026) | 75 | 365 | 45 | 4320 | 12318.75
WATER & CONSUMPTION DATA (auto-calculated)
Water source | Withdrawn (m³/year) | Returned to same source (m³/year) | Consumed (m³/year) | Share of total withdrawn (%) | Explanations / Notes
Municipal water supply | 0 | 0 | 0 |  | Potable water from municipal network.
Groundwater (own borehole) | 0 | 0 | 0 |  | Self-supplied fresh water; include only permitted extraction.
Rainwater harvesting | 0 | 0 | 0 |  | Collected rainwater used on site (typically non-potable).
Recycled / greywater use | 0 | 0 | 0 |  | Water reused for toilets, irrigation, laundry, cooling, etc.
Other | 0 | 0 | 0 |  | Tankers or other sources not listed above.
TOTAL withdrawn (m³) | 0
TOTAL returned (m³) |  | 0
TOTAL consumed (m³) |  |  | 0
High / Extremely High Water Stress (% of total withdrawn) | 0 |  |  |  | Share of total water withdrawn that comes from regions with high or extremely high baseline water stress (e.g., WRI Aqueduct).
Discharge destination / treatment (free text) |  |  |  |  | Optional: where water is discharged and whether treated on site or by utility.
INTENSITIES & KPIs |  |  |  |  | Shows water-use efficiency and circularity. Use these KPIs for year-on-year tracking and peer comparison.
Floor area (m²) | 4320
Room nights (available) | 12318.75
Room nights (occupied) | 9239.0625
Water intensity (m³/m²) | 0
Water intensity (L/room-night) | 0
% from recycled or rainwater
BENCHMARKS & THRESHOLDS |  |  |  |  | Reference and target values to compare performance with industry leaders (e.g., Hilton) and your peer group.
Reference: Hilton water intensity (L/room-night) | 553
Water threshold – Excellent (≤) | 350
Water threshold – Good (≤) | 550
Water threshold – Fair (≤) | 750
Compare: Your water intensity vs. Hilton (%) |  | %
SCORING (0–100)
Data completeness (10) | 0
Water intensity score (40) | 40
Circular water use score (20) | 0
MANAGEMENT PRACTICES (water-specific)
Question | Yes/No | Explanation
Is monthly water consumption monitored and recorded? |  | Enables tracking of use and basic leak detection.
Are leak detection systems or smart meters installed? |  | Identifies abnormal consumption and reduces losses.
Are low-flow fixtures and aerators installed (taps, showers)? |  | Improves efficiency and reduces per-guest use.
Is rainwater or greywater reused on site? |  | Supports circular water use and resilience.
Are staff trained in water-saving practices? |  | Builds awareness and operational control.
Management practices score (30) | 0
TOTAL SCORE (0–100) | 40
RATING | Bronze
How to interpret your results (Water)
Rating | Meaning | Typical profile | Recommended next steps
Basic (0–25) | No systematic measurement; no defined water-saving initiatives. | Facility without metering or monthly tracking. | Start monthly monitoring, set a baseline and identify top water uses (guest bathrooms, laundry, kitchens).
Bronze (26–50) | Partial tracking and basic actions (linen/towel reuse, maintenance). | Facility with basic awareness; limited metering. | Install meters/smart sub-meters, train staff, fix visible leaks, and set a yearly reduction target.
Silver (51–75) | Active water management; low-flow fixtures and first reuse solutions. | Facility with monitoring and optimisation. | Introduce rainwater harvesting or greywater reuse for non‑potable uses; schedule regular leak detection.
Gold (76–90) | Advanced efficiency, reuse and continuous monitoring. | Facility with targets, smart meters and audits. | Benchmark against peers; expand reuse systems (toilets/irrigation), optimise laundry and kitchen processes.
Platinum (91–100) | Exemplary water stewardship and circularity (>20% reused/harvested). | Facility with full monitoring and performance verified over time. | Maintain performance, certify (e.g., ISO 14001/50001) and share best practices with peers and local community.
BEST PRACTICES – Water Efficiency & Reuse
• Install low-flow fixtures (taps, showers, dual-flush toilets) to reduce per-guest consumption.
• Introduce greywater reuse for toilet flushing, irrigation or laundry operations.
• Use smart meters and sub-metering to monitor kitchens, pools, and garden areas.
• Implement a regular leak detection and maintenance programme.
• Launch staff awareness and guest education campaigns on water conservation.
• Consider rainwater harvesting and reuse for cleaning or landscaping purposes.
• Monitor daily water consumption per occupied room-night to identify anomalies early.

## WASTE MANAGEMENT
Accommodation Profile |  | 1. Guesthouse / Pension – only accomodation, no gastronomy | 2. Hotel / Pension bez restaurace – continental breakfast, reception, basic services | 3. Self-catering accommodation, serviced apartments | 4. Hotel with restaurant – full gastronomy | 5. Hotel with wellness / pool / conferences – vysoká spotřeba |  | A. Central Europe | B. North Europe | C. South Evropa
Period | Occupancy rate during the year (%) | Number of operating days | Number of rooms | Floor area including facilities (m²) | Room night |  | entered by user | calculated by program | recurring values
x (eg. 2024) | 75 | 365 | 45 | 4320 | 12318.75
x+1 (eg. 2025) | 75 | 365 | 45 | 4320 | 12318.75
x+2 (eg. 2026) | 75 | 365 | 45 | 4320 | 12318.75
WASTE & CONSUMPTION DATA (auto-calculated)
Waste stream | Quantity (kg/year) | Destination / Treatment | Recycled (kg) | Recovered incl. compost/AD/energy (kg) | Share of total (%) | Explanations / Notes
Mixed municipal waste | 0 |  | 0 | 0 |  | Residual waste sent to general disposal (landfill/incineration).
Paper and cardboard | 0 |  | 0 | 0 |  | Office and packaging paper/cardboard.
Plastics | 0 |  | 0 | 0 |  | Packaging materials and bottles.
Glass | 0 |  | 0 | 0 |  | Bottles and jars.
Metal | 0 |  | 0 | 0 |  | Aluminium, steel cans, etc.
Organic / Food waste | 0 |  | 0 | 0 |  | Kitchen and restaurant waste; suitable for composting/AD.
Other (e-waste, hazardous) | 0 |  | 0 | 0 |  | Batteries, bulbs, chemicals – specialised treatment.
TOTAL waste generated (kg) | 0
TOTAL recycled (kg) |  |  | 0
TOTAL recovered incl. compost/AD/energy (kg) |  |  |  | 0
% recycled
% recovered incl. compost/AD/energy
INTENSITIES & KPIs
Floor area (m²) | 4320
Room nights (available) | 12318.75
Room nights (occupied) | 9239.0625
Waste intensity (kg/m²) | 0
Waste intensity (kg/room-night) | 0
% recycled (of generated)
% recovered incl. compost/AD/energy
BENCHMARKS & THRESHOLDS
Waste threshold – Excellent (kg/room-night, ≤) | 1.5
Waste threshold – Good (kg/room-night, ≤) | 2.5
Waste threshold – Fair (kg/room-night, ≤) | 3.5
Compare: Your waste intensity vs. Good threshold (%) |  | %
SCORING (0–100)
Data completeness (10) | 0
Waste intensity score (40) | 40
Circular waste management score (20) | 0
Management practices score (30) | (to be added in the next section)
TOTAL SCORE (0–100) | 40
MANAGEMENT PRACTICES (waste-specific)
Question | Yes/No | Explanation
Are waste quantities tracked monthly by type? |  | Enables monitoring and early identification of anomalies.
Is waste separated at source (paper, plastic, glass, food)? |  | Fundamental for recycling and recovery performance.
Are suppliers engaged to reduce packaging or use returnable containers? |  | Helps reduce waste generation upstream.
Is organic/food waste composted or sent to anaerobic digestion? |  | Reduces landfill waste and GHG emissions.
Are staff trained in waste segregation and reduction? |  | Ensures consistency in sustainable practices.
Management practices score (30) | 0
TOTAL SCORE (0–100) | #VALUE!
RATING | #VALUE!
How to interpret your results (Waste)
Rating | Meaning | Typical profile | Recommended next steps
Basic (0–25) | No monitoring or separation of waste. | Facility without recycling plan or tracking. | Start measuring total waste and set a baseline for recycling rate.
Bronze (26–50) | Basic separation and partial tracking in place. | Smaller facility with simple bins and awareness posters. | Introduce monthly tracking by waste type, improve signage, and work with suppliers to reduce packaging.
Silver (51–75) | Active waste management and segregation across main waste streams. | Mid-size facility with established recycling and supplier collaboration. | Add composting or anaerobic digestion for food waste; measure recycling rate quarterly.
Gold (76–90) | Advanced circular waste practices and supplier engagement. | Facility with waste reduction plans and traceability of outputs. | Optimise recovery streams, expand circular packaging and refill systems, monitor waste intensity.
Platinum (91–100) | Exemplary waste prevention and full traceability; >90% diversion from landfill. | Facility with verified performance and near zero-waste operations. | Share best practices, engage local community, and pursue zero-waste certification.
BEST PRACTICES – Waste Management
• Implement waste separation at source in all areas (guest, kitchen, housekeeping).
• Track waste quantities monthly by type and treatment route.
• Engage suppliers to reduce packaging and introduce returnable or refillable containers.
• Implement organic waste composting or connect to a biogas/anaerobic digestion facility.
• Use clear signage and colour-coded bins to improve sorting accuracy.
• Launch staff and guest awareness campaigns about recycling and waste prevention.
• Partner with local recyclers or NGOs to improve material recovery.
• Regularly review waste performance KPIs and set annual reduction targets.